# MMC 274 Nexus®

## Multiple Module Calorimeter

#### Various Modules in One Calorimeter

The MMC 274 Nexus® consists of two parts: the base unit with electronics and the exchangeable calorimeter module. This guarantees maximum flexibility.

Exchangeable calorimeter modules are available for different applications. The Accelerating Rate Calorimeter (ARC®) module can be used for standard process safety work. The External heater module can be employed for more sophisticated measurements.

Key Features and Advantages of MMC 274 Nexus®

- Multiple testing modes in one instrument for wide application coverage

  - Scanning mode (constant power, constant heating rate)

  - Isothermal mode

  - Adiabatic mode with Heat-Wait-Search for process safety tests

- Exchangeable calorimeter modules in one table-top instrument

  - ARC module for safety testing

  - External sample heater module for scanning tests as with DSC

- Wide temperature range up to 500°C

- Wide pressure range up to 150 bar (15 MPa)

- Various sample containers of different materials and volumes

- Proteus® software for the evaluation of onset, peak, area, etc., which may be combined with other thermoanalytical data in one plot