Fixtures & Fittings

Types:

Needle Valves

For good flow control for all lab gases – not to be used for liquids or steam

Working pressure: 150 PSI

Fine control Needle Valves

For precise flow control for high purity gases – not to be used for liquids or steam

Working pressure: 150 PSI

Steam Valves

For use with steam

Working pressure: 20 PSI

Valves for Burning Gases

For use with Burning gases (with Safety locking mechanism)

Working pressure: 20 PSI

Water Valves/Faucets/Mixing Faucets

For use with hot & cold water, purified water, de-ionized water

Working pressure: 150 PSI

Pressure Regulator Fittings

For use with High Purity 5.0 gases & 6.0 gases

Working pressure: 150 PSI

Fume Hood Fittings

For good flow control for all lab gases & liquids, for fume hood facia mount

Working pressure: 150 PSI

Flexible Lab Fittings

For flexi tie-in connection for all lab gases by Quick connects & hose assembly

Working pressure: 150 PSI

Make	: WATERSAVER, USA

Finishes	: White powder coated finish; Polished chrome plated finish with clear epoxy coating

Compliance		: SEFA 7-2007 “Recommended Practice for Fixtures; ANSI Z21.15; CGA 9.1